## Sheet1
| Starting place | end place | distance(m) | Distance for dividing places |  |  | comments | Phase | cable type and size
1 | panel room | workshop | 24.52 |  |  |  |  | 3
2 | panel room | middle hostel behind maintenance room | 52.97 |  |  |  |  | 3
3 | panel room | guest house-liraray | 254.09 | guest house- 85.38m | Auditorium-160.24m | Libraray- 254.09m | One line goes to those 3 building and relevent distace that line tap and conect to that buildings | 3
4 | panel room | departments | 164.46 | civil -71.87m | mech - 113.26m | elec-164.46m | One line goes to those 3 Department buildings and relevent distace that line tap and conect to that buildings | 3
5 | panel room | LT DB | 176.49 |  |  |  |  | 3
6 | LT DB | LT | 10.46 |  |  |  |  | 3
7 | LT DB | Admin | 64 |  |  |  |  | 3
8 | LT DB | pump house, securityrooms | 165.69 | pump house-130.6m | security- 165.46m |  | One line goes to those 2 building and relevent distace that line tap and conect to that buildings | 3
9 | LT DB | Upper canteen,lower canteen |  | upeer canteen-106.97m | upper canteen-145.39 |  | One line goes to those 2 building and relevent distace that line tap and conect to that buildings | 1
10 | Kalderama | Hilton | 38.42
11 | LT DB | hostel B,A | 244.11 | Hostel B- 210.08m | Hostel A-244.11m |  | One line goes to those 2 building and relevent distace that line tap and conect to that buildings | 3
12 | Panel room | Hostel C | 376.88 |  |  |  |  | 3
14 | Panel room | wanniya , gym |  | Wanniya- | Gym- |  |  | 3
16 | CEB line | hostels near maintenanace unit |  | hostel 24-17.05m | hostel 22- 40.78m |  | One line goes to those 2 building and relevent distace that line tap and conect to that buildings | 3

## Sheet2
Roof top Areas in Faculty
Given data
Venue | Roof Area (m²)
Admin | 531
Library | 834
Auditorium | 1400
Lecture theatre (lt) | 1400
upper canteen | 274
Girls' hostel - A | 388
Hostal -f | 212
902
elec | 1152
mechanical | 1152
civil | 1152
Guest house | 344
Gym | 1042
Boys' hostel - 1 | 456
Boys' hostel - 2 | 456
workshop | 1354
lower canteen | 834
13883