## Sheet1
Starting place | end place | distance(m) | Distance for dividing places |  |  | comments | Phase | cable type and size (mm^2)
panel room | workshop | 24.52 |  |  |  |  | 3 | 75
panel room | middle hostel behind maintenance room | 52.97 |  |  |  |  | 3 | 60
panel room | guest house, Auditorium, library | 254.09 | guest house- 85.38m | Auditorium-160.24m | Libraray- 254.09m | One line goes to those 3 building and relevent distace that line tap and conect to that buildings | 3 | 60
panel room | departments | 164.46 | civil -71.87m | mech - 113.26m | elec-164.46m | One line goes to those 3 Department buildings and relevent distace that line tap and conect to that buildings | 3 | 150
panel room | LT DB | 176.49 |  |  |  |  | 3 | 150
LT DB | LT (Lecture theater) | 10.46 |  |  |  |  | 3 | 75
LT DB | Admin | 64 |  |  |  |  | 3 | 75
LT DB | pump house, securityrooms | 165.69 | pump house-130.6m | security- 165.46m |  | One line goes to those 2 building and relevent distace that line tap and conect to that buildings | 3 | 75
LT DB | Upper canteen,lower canteen |  | upeer canteen-106.97m | upper canteen-145.39 |  | One line goes to those 2 building and relevent distace that line tap and conect to that buildings | 1 | 75
Lower canteen | Upper canteen | 38.42 | [5 empty] | 60
LT DB | hostel B,A | 244.11 | Hostel B- 210.08m | Hostel A-244.11m |  | One line goes to those 2 building and relevent distace that line tap and conect to that buildings | 3 | 75
Panel room | Hostel C | 376.88 |  |  |  |  | 3 | 70
Panel room | Hostel D (wanniya) , gym | 576.25 |  |  |  |  | 3 | 75
Hostel D (wanniya) | Gym | 133.77 | [5 empty] | 60
panel room | EV Charging Station | 50 |  |  |  |  | 3 | 50
panel room | bess+ super capacity | 10 |  |  |  |  | 3 | 120

## Sheet2
Roof top Areas in Faculty
Given data
Venue | Roof Area (m²)
Admin | 531
Library | 834
Auditorium | 1400
Lecture theatre (lt) | 1400
upper canteen | 274
Hostel A | 388
Hostel B | 212
Hostel C | 902
elec | 1152
mechanical | 1152
civil | 1152
Guest house | 344
Gym | 1042
Hostel D (Wanniya) | 743
Hostel bolck | 215
workshop | 1354
lower canteen | 834
13929